EPW

Dhabhol And The Godbole Report

by S L Rao.

The history of India’s flirtation with Enron leading to the birth of the Dhabhol Power Company (DPC), the commencement of Phase 1 of the Project, and the construction of Phase 2, have been succinctly documented, most recently by Kirit Parikh. (EPW April 28 2001: Thinking through the Enron Issue).1 A Review Committee under the chairmanship of Madhav Godbole, with members as EAS Sarma, RK Pachauri and Deepak Parekh was appointed on February 9, 2001, submitting the first part of its Report on April 10 2001. On April 30, a Negotiating Committee to re-negotiate the terms with Enron and DPC, with the same members (with the addition of Kirit Parikh and some others), was announced.

The first part of the Report identifies the factors leading to the Dhabhol tariffs being what they are, and identifies various possible measures to bring them down. It has not at this stage negotiated with DPC, though it has heard them. Nor has it considered the reforms required in the power sector in Maharashtra.

It finds that there are two separate tariff lines for recovering fixed charges from MSEB. They relate to:

- The power plant; and

- Fixed energy charges.

The fixed capacity charge for the power plant is on account of capital and O & M (operations and maintenance charges) recovery. The fixed energy charges relate to Phase 2 of the Project and are on account of

  - Regasification (vaporizing of LNG before firing in the gas turbines);

  - Shipping and harbour charges;

  - Fuel management; and

  - Take or pay payment for Gas.

The Project will have the capacity to process 5million tones of CNG of which approximately 2.1 million tones is required for the power plant supplied by two sources supplying 1.6 and 0.5 million tonnes respectively. The responsibility for paying for approximately 1.8 million tones (90% and 75% respectively from the two sources) even if not consumed, will rest with MSEB.

The regasification capacity, the shipping contract and the gas itself are presently part of the Project. There is no provision for selling unused capacities to other parties.

# THE RENEGOTIATION GROUP

The Renegotiation Group that was formed with the advent of the Shiv Sena-BJP government, had recommended:

- Reduction in equipment cost by 330 million dollars

- Removal of the escalation clause in the tariff;

- Limiting the foreign exchange risk;

- Limiting the fuel off take risk;

- Allocation of the standstill costs;

- Separation of the gas facility from the project;

- Sourcing the fuel, and particularly naphtha, indigenously;

- Maximizing the Indian content of the Project in Phase 2, for example by reconfiguring insurance, placing insurance in India;

- Conversion of plant to multifuel at a cost of USD 35million to be borne by DPC:

- By the year 2000, LNG to be competitively priced on terms to be agreed by MSEB;

- MSEB to pick up 30% stake in DPC.

Only items 1,2 and 9 were given effect to.

GODBOLE COMMITTEE’S COMMENTS

The Godbole Committee had the following comments on the recommendations of the Renegotiation Group:

- No details are available on what appears to have been a very hurried renegotiation process, and the report is limited to a summary.

- The reduction in equipment cost was due to a decline in equipment prices;

- A reconfiguration of the plant resulted in an increase in output at no significant additional cost to DPC. The Negotiating Group attributed a saving of USD253million because of this additional capacity. The savings are imaginary since they relate to extra capacity which must be bought in relation to the take or pay clause.

- Due to the reduction in capital cost by 330million dollars, the Group recommended removal of 4% escalation in capital recovery charge from Phase 2. It was no concession by DPC and would have been available in any case because of the fall in equipment prices.

- The Group did not calculate sensitivity on impacts of rupee

Depreciation, and change in fuel prices.

- Energy charges on 2.1 million tonnes were fixed for MSEB on take or pay basis, and not clear if Group took impact of this into account;

- Assumed that demand would be there for the take or pay energy levels.

The Committee concluded that the Group’s negotiations were infructuous except in the removal of the escalation clause in the tariff. In actual practice, the demand has been lower than anticipated. The rupee depreciated to Rs 46 per dollar against Rs 32 assumed by the Group. The price of fuel more than doubled. The total tariff payments by MSEB from May 1999 to December 2000 were Rs2931 crores, an average of Rs4.69 per unit against the estimated Rs 1.89 per unit. The tariff calculations in the Project and by the Re-negotiation Group were notional and with no connection to the reality.

## FAILURE OF GOVERNANCE

The Committee devotes a fair proportion of the Report to point out the failure of governance in the negotiations for this project, “which has occurred across time, across governments and across agencies”. The Committee seems to be divided on whether there should be a judicial commission of enquiry into the “infirmities in the several decisions taken in respect of this project “. (Page 84). Some of the infirmities were:

- Error in going for a base load project when the requirement was for an intermediate/peak load project, as is evidenced by the commitment to take 90% of capacity;

- The World Bank was clearly against the project as a base load plant even at 80-85% plf because it did not meet least cost criteria for which imported coal might have been a better option.

## FACTORS AFFECTING TARIFF (from the Godbole Report)

- Payments to DPC are largely invariant with respect to energy supplied. The key-influencing factor on per unit tariffs is the plf.

- Dollar denominated funds are at higher percentage than for other projects, and hence rupee depreciation has more averse impact.

- MSEB has contracted for 2184MW as base load, giving DPC complete recovery of capital costs.

- MSEB is also committed to pay for high levels of LNG on take or pay basis.

- Capital costs remain high in comparison to other projects.

- So are O&M expenses.

- Heat rate at 2000kcal/kwH gives additional cushion.

The Committee concludes: “Thus, it is seen that even without changing the unfavorable assumptions on capital cost and indexation of O&M expenditure, the demonstration that the DPC tariff for Phase 1 was indeed lower than the GOI tariff is seen to be based on very convenient assumptions of a fixed exchange rate and a heat rate of 2000kcal/kwH, a PLF of 90% and of course, the high capital cost and indexation of O&M expenditure. (P57) ………………(The Committee) is constrained to conclude that these assumptions were deliberately chosen so as to show that the DPC tariff was lower than the GOI tariff (P61)…..….. However, while the development of DPC has been fraught with infirmities, its existence cannot be wished away. (P66)”

PROPOSALS BY DPC

DPC in its interaction with the Committee recognized the need to find a solution that would ensure the stability of MSEB and the viability of the project in the long term. The proposals they made had the following features:

- Any package that is developed must be acceptable to all the stakeholders and without prejudice to DPC’s rights under existing contracts.

- DPC is ready to work with the GOI and other agencies for the optimal utilization of existing installed capacity.

- DPC is ready to assist MSEB to sell power on marginal cost basis to other states.

- It can work with MSEB to hedge fuel and foreign exchange risks.

- MSEB’s take or pay obligations on LNG could be reduced by the sale of LNG on spot basis, with differential costs being to MSEB’s account

- Since GOI was obliged to make payments for 740MW under their counter-guarantee, they might as well directly or through NTPC, buy power equal to one block (740MW), and NTPC can average out the tariff with that of their other plants.

- DPC is ready to offer a 15% equity stake to NTPC.

- DPC asks for exemption from minimum alternate tax and from dividend distribution tax.

- In order to maintain unit tariff at lower levels, an effective solution must enable DPC to operate at 90% dispatch level

- MSEB must have a detailed plan and time frame for reform. This is essential for a solution.

- Mega project status with benefits being passed on to MSEB.

COMMITTEE’S COMMENTS ON DPC

- If DPC power is expensive for Maharashtra, it is likely to be so for others as well.

- Any sales to other states will have to get tariffs approved by CERC.

- There is no buyer for DPC power at current pricing and terms.

- An essential part of the solution for Phase 2 has to be the separation of the power plant from the fuel (LNG) facility comprising of regasification, harbour, LNG purchase contract and unused shipping capacity.

OTHER COMMENTS (by author)

- Selling the power outside Maharashtra or directly to customers in Maharashtra, will under the present laws, require the approval of the concerned SEB. Within Maharashtra, selling directly would amount to an escrow since the customers are likely to be large and with the ability to pay. This may not suit MSEB who will lose large and assured paying customers.

- NTPC tariffs are regulated by CERC on a station wise basis and averaging is out of the question since each station has contracts for purchase by one or more  SEB’s. But selling at times of the year is a possibility, for example, to Delhi in summer months.

- PTC may be a vehicle to use for selling DPC power to other SEB’s. Another possible customer could be the Railways.

- So long as MSEB is committed to take or pay at 90% plf, full fixed charges are its liability. So MSEB should work with PTC to sell power to others, even if it does not get full proportionate fixed charges. At least it will get a contribution that will reduce its fixed charge liability.

- Can the gas facility be treated separately or is the gas supply integral to the power plant? Can cast-iron contracts be entered into for sale of extra gas to other parties? What about pipelines? Who will approve tariffs? Whose account will be extra profits or losses on such sale?

GODBOLE COMMITTEE’S RECOMMENDATIONS

- Publish all documents related to all IPP’s including DPC.

- Renegotiate PPA as has Indonesia and which the Philippines are expected to do. The principle has been established in the USA that when a project has high-risk perceptions resulting in high returns, it cannot expect full compensation when there is a change. This must apply to DPC as well.

- Re-negotiation should commence immediately “to address certain urgent and critical issues, pertaining to the project, through negotiations with DPC so as to bring down the cost of power.” All concerned parties should participate in this re-negotiation— including the government of Maharashtra and the government of India, specifically the Ministries of Power, Environment and Petroleum.

- Two members argued that a judicial commission of enquiry must be appointed to look into the various failures in governance, but the others felt that it would only delay matters in the re-negotiation of the project, and in any case, was not part of the terms of reference.

- The LNG facility must be separated from the power plant, even if that changes the nature of the project and attracts the fresh scrutiny of the Central Electricity Authority. Its capital costs “must be reflected in the fuel charge, not as take or pay, but only in proportion to the fuel re-gasified for power generation, compared to the total re-gasification capacity.”

- Re-negotiate LNG supply and shipping agreements. Both guaranteed off-take and commercial terms must be reviewed. The Government of India must study as to how these agreements can be integrated into overall LNG imports.

- Convert the tariff into a two-part tariff using the principles contained in the GOI guidelines and the CERC order on the availability based tariff (ABT). However, the availability-linked incentives need not apply, enabling a significant reduction in tariffs.

- Remove dollar denomination in the fixed charge components, especially in the return on equity.

- Financial restructuring of DPC to defer the payment obligations to later years. The debt maturity should preferably be increased to 15 years with an initial moratorium of 5 years. The interest payable on such debt may be fixed at 12% in Rupees (6% in dollars). Alternatively, foreign loans might be converted into Rupees and the equity into deferred preference capital so as to postpone the impact on tariffs.

- The escrow agreement should be cancelled.

- The heat rate must be renegotiated to match that guaranteed in the EPC. This will save the cushion of additional profit that is presently available.

- Both the state and central governments must ensure that MSEB is reimbursed the subsidy payments by Maharashtra government.

- Allow sale of DPC power outside Maharashtra with proportionate transfer of fixed charges; OR, DPC might be allowed to sell to other parties outside the MSEB system but relieve MSEB of all contractual obligations for the DPC plant

KIRIT PARIKH, S SUGGESTIONS (EPW April 28 2001)

He sees scope for reworking DPC tariff because of the fall in global interest rates and in the capital costs of combined cycle gas plants. He argues that when the cost of borrowing goes down, the return on equity should also go down. For this purpose he makes extensive use of a paper prepared by Crisil for CERC on the cost of capital for electricity. In its review order on the ABT, CERC has discussed this first effort in India to estimate the return on risk in the power sector in India. It concludes that a great deal more work remains to be done before we can reach a conclusion, primarily because the stock market representation of the power sector in India is hardly 5% of generation capacity, and there is also not a long enough market history.

However, it could be argued that a ‘no-risk’ project like DPC (assured returns, costs as pass-through, fixed charges committed to be paid, guarantees and counter-guarantees by governments as well as escrows, dollar denominated returns, etc.) should earn a return only a little higher than it would on home ground, since country risks are totally eliminated. An additional return could be attributed for each of the guaranteed elements that is removed or diluted. In this way, a return could be worked out which appropriately recognizes the cost of risk.

CONCLUSION

There is no doubt that the PPA has to be reopened and the tariffs determined afresh. We should not normally be looking at fixed tariffs for periods longer than five years. The object must be to enable markets to develop, so that in due course, tariffs are market-determined. But the obduracy of state governments, and the lack of understanding of markets at the Centre, has ensured that we do not have free market trading in electricity in India. Trading is possible even in times of shortage, since the market can use prices to move supplies to match demands. However trading requires an institutional mechanism like the stock exchange, different players and instruments, a comprehensive framework of rules, and tight regulation. We have neither the legislation that will permit this, nor the preparatory work that will enable such a mechanism to be put in place

Trading also requires open access to transmission. Here, the ideological orientation of the 1998 amendments to electricity legislation, have left transmission as a monopoly for operations and maintenance, with central and state government owned entities. Monopolies do not usually want to give up their exclusive positions. This is true of private as well as government monopolies. The result has been inadequate investment in transmission and no investment by the private sector.  This makes the smooth and easy flow of power across the country, more difficult.

The distribution monopolies with SEB’s are the most major constraint to the viability of the power sector in India. Here again, the attempt seems to be to replace statewide government monopolies by smaller private monopolies. There has been no attempt to separate distribution from supply. Then the former could be regulated as a monopoly, while the latter could be thrown wide open to a multitude of small and large operators, for well-defined localities.

Meanwhile, the re-negotiation of the DPC tariff appears to be a mammoth task, and probably unattainable. The sacrifices that DPC will have to make, in relation to their position of very high and safe returns today, are very substantial. It does not appear that MSEB has anything to offer in return. No wonder that DPC is asking for arbitration and threatening termination with the resultant heavy compensation that would become available.

The fact that Indian financial institutions have significant exposures to DPC, and apparently without the security mechanisms put in place for the foreign institutions, is another pressure on the Indian negotiators.

In the present state of the power sector in India, DPC power at its present tariffs might be unacceptable to the extent of its capacity.

The speediest way out of this imbroglio may well be to treat DPC as a stranded project, and negotiate the lowest cost to move the foreign investors out of the project. This may mean that governments might have to take a knock to an extent because of stranded costs, to the extent that the price payable might be more than what an Indian investor is willing to pay. Tariffs can then be based on those lower capital costs and without the dollar denominations.

1 EPW April 28 2001: Thinking Through the Enron Issue.

?

